**Title:** *Air Pollution Detector*

**I. Summary**

The project is intended to provide the user with a cost-efficient means of determining air quality. The sensor focuses on the five components of the Environmental Protection Agency's Air Quality Index: ozone, particulate matter, carbon monoxide, sulfur dioxide, and nitrous oxide. This device detects all of these pollutants except sulfur dioxide. The device also includes a town gas sensor to alert the user of gas leaks or the presence of flammable gases. Furthermore, a temperature and humidity sensor is included as these conditions can impact the performance of the gas sensors. It is important to create devices like this because excessive pollution such as CO2 emissions is cause harm to the Earth. This device helps collect data about the air quality, so air quality issues can be resolved.

**II. Objective**

The purpose of the project is to build an Air Pollution Detector that detects ozone, particulate matter, carbon monoxide, sulfur dioxide, and nitrous oxide levels. The project will student how to utilize IoT devices and Arduino devices to build useful devices.

**III. Industry-Based Application**

This project is related to industry by many companies are implanting the internet of things into many products. These products are seen in everyday lives products, such as, televisions, refrigerators, smart speakers and more. Therefore, it is important for student to become familiar with IoT devices and the construction of them. The IoT

1

devices will be the future of many engineering design projects. This project will develop the students programming skills and circuit design for real world application of a product. Also, the project will teach students the importance of monitoring quality and helping the environment. Furthermore, it shows students that engineering can be used to design a wide-range of products.

**IV. Methodology**

a. Components

**Control and Power**

i. Arduino Uno

ii. 5V power supply

iii. RGB 16x2 LCD shield

**Sensors**

i. Shinyei PPD42 Particulate Matter Detector

ii. MQ-2 Gas Sensor

iii. MQ-9 Gas Sensor

iv. MiCS-2714 Gas Sensor (NO2)

v. MiSC-2614 Gas Sensor (Ozone)

vi. Keyes DHT11 Temperature and Humidity Sensor

**Box and Assembly**

i. Access to 3D printer


ii. Solder Board

iii. 5V fan

iv. 10 to 15 wires of gauge 24

2

b. Procedures

**Figure 1-** The figure above is the circuit diagram for the air pollution detector i. Figure 1 contains the circuit diagram for the air pollution detector to be

constructed. Most of the digital ports and analog ports can be changed on the Arduino can be changed but the code will have to be modified as well. **Particulate Matter Sensor**

3



**Figure 2-** The picture display the Shinyei PPD42 Dust Sensors ii. The two Shinyei PPD42 Dust Sensors are used to collect data about particulate matter.


iii. Each Shinyei Detector has two signal outputs: one for small particulate matter (left yellow wire shown in Figure 2) and one for larger particulate matter. The larger particulate line in figure 2 in empty, but another wire is connected to complete this functionality. These output signals are connected to digital inputs on the Arduino. The detector needs to be powered by supplying +5V and ground to the ports on the detector. See the overall circuit diagram for further connectors.

iv. Each detector uses an infrared LED and a photodetector to measure scattering off of small airborne particulates. Internal circuitry turns the photodetector output into digital output signals. Generally, the sensor outputs a +5V signal, when it detects particles is sends out a low-voltage pulse. The fraction of the time that the output signal is low or the "low-pulse


4

occupancy percentage" is proportional to the concentration of particulate matter in the air.

**Gas Sensor Circuit Board**


****

**Figure 3-** The circuit diagram shows the connections for a gas sensor circuit board.

**Figure 4-** The picture above shows the circuit diagram in figure 3 connected on the circuit board

5

v. Above is the circuit diagram for the circuit board hosting the gas sensors and temperature/humidity sensor. Details about mounting each of the separate devices are in the following steps. Note that the circuit board can look different from the picture physically. It should work just as well as long as you follow the circuit diagram.



**Figure 5-** The figure above shows the surface-mount sensors connections. vi. The surface-mount sensors MiCS-2614 and MiCS-2714 are used to detect Ozone and Nitrogen Dioxide respectively.

vii. Both of these devises use an internal resistor sensing element. The sensing resistor is connected between the pins (G) and (K) in the diagram above. Use an ohmmeter to check that you have found the right pins. The resistance should be on the order of 10-20 kΩ.

viii. Both devices also have a heating element between pins (A) and (H). This heating element keeps the sensing element at the appropriate temperature. The resistance of the heating element is 50-60Ω.

6

ix. Ideally these devices should be surface mounted onto a circuit board. However, in the absence of a circuit board printer it is still possible to carefully solder to the back of these devices using very low temperature solder.


x. As shown in the solder board circuit diagram, place the 82Ω resistor and the 131Ω resistor in series with the heating elements of the MiCS-2614 and MiCS-2714 units. This ensure that the heating elements receive the proper level of power. If you don't have access to a 131Ω resistor (it is not a standard value) use a 120Ω resistor and a 12Ω resistor in series.

xi. Place the sensing resistors in both devises in series with 22kΩ resistors to create a voltage divider. From the voltage at the output of the voltage divider the students can calculate the sensing resistance.

RSensing = 22kΩ x (5 ����������

��������−1~~)~~

**MQ Toxic Gas Sensors**


****7

**Figure 6-** The figure above shoes the MQ toxic gas sensors pins. xii. MQ-2 and MQ-9 gas sensors are used to measure toxic gasses including Propane, Butane, LPG and Carbon Monoxide.

xiii. The MQ-2 and MQ-9 are very similar to the MiCS detectors. The sensors use a gas-sensitive resistor (SnO2) to detect concentrations of toxic gases and have an internal heating element to keep the sensor at the right temperature. The circuits are used for these devises are practically the same as the circuits for the MiCS sensors, except that we use a transistor rather than a resistor to regulate heater power in the MQ-9.

xiv. Refer to the solder board circuit diagram for mounting details. For the MQ 2 sensor, connect the pins marked A to the 5V power, connect the pin marked G to ground, and connect the pin marked S is connected to ground in series with a 47 kΩ resistor. For the MQ-9 gas sensor, connect the pin marked A to the transistor, the pin marked B to the 5 V power, the pin marked G to ground, and the pin marked S to ground in series with a 10 kΩ resistor.

**Temperature and Humidity Sensors**

****

8

**Figure 7-** The picture above shows a temperature and humidity sensors xv. This sensor is implemented because temperature and humidity play a role in the gas concentrations that the sensors detect.

xvi. High humidity and temperature as well as dramatic changes in either would have detrimental effects on the accuracy of readings It is therefore helpful to be able to monitor these variables. Both temperature and humidity can be read from this single sensor. Oriented as it is in the photo above, the left pin is to be attached to power, the middle pin is the output signal, and the right pin is grounded. The output signal for this component goes to a digital port on the Arduino. The code is set up such expecting the temperature signal in digital port 2. This can be changed to another digital port should you need to; simply alter the code in accordance to what port you have chosen. Refer to the solder board diagram to use this component.

**Power and Fan**

****

**Figure 8-** The figure above shows the fan and power for the design

9

xvii. The circuit diagram for the entire project, you will see that the students need only one input voltage of 5 V. A common adaptor like the one shown above can be used to power the project. Furthermore, the students will need a fan to ensure airflow through the box and prevent overheating. The fan used above but any fan that uses 5 V and is of the appropriate size can be used.

**Container**

xviii. While there are many ways to make an effective box, the group chose to use an UP 3D printer for our box. We have attached the STL that we used for the final printing. The students can build a box out of any materials instead of 3D printing.

**Coding**

xix. The code for extracting raw data from the device is attached. This code will print the sensor resistance values, Shinyei PPD42 low-pulse occupancy percentages, and temperature and humidity readings to the computer via the serial monitor. It will cycle through the raw data on LCD screen as well.

xx. In order to make the code work you will first need to download the libraries for the LCD shield and temperature and humidity sensors. You will find the libraries at the following websites

xxi. LCD shield code: https://learn.adafruit.com/rgb-lcd-shield/using-th... xxii. Temperature and humidity sensor code: https://github.com/adafruit/DHT sensor-library

**Interpreting the Data**

10

xxiii. In the process of determining how to transform raw sensor values into meaningful outputs. Calibration against known pollution sources will eventually be necessary to ensure accuracy. In meantime we have used sensor data sheets and prior research to make approximations.

xxiv. To estimate particulate matter concentrations, we use information from a research paper by David Holstius. The paper correlates the Shinyei PPD42 dust sensor outputs with EPA measurements. The graphs in the appendix show best fit lines for the data. We used the graphs to approximate PM2.5 concentrations in micrograms per cubic meter as:

PM2.5 = 5 + 5 \* (small PM low-pulse occupancy percentage)

xxv. To estimate gas concentrations from MiCS gas sensors, we use the graphs in the datasheets (NO2 and O3) to extract functions relating sensor resistance to gas concentration.

xxvi. For MQ sensors we use the graphs on the device datasheets to qualitatively assess the data. When the resistance value drops to less than half of the resistance in air, it is likely that the devise is detecting the target gasses. When resistance drops by a factor of 10, the levels of target gas are likely around 1000 ppm, close to the legal safety limit.

xxvii. Once the students obtain approximate concentrations of the target gasses, we defer to US government standards to interpret the data. We primarily use the EPA Technical Assistance Document for the Reporting of Daily Air Quality and a CDC information sheet on the hazards of propane.

11

xxviii. Unfortunately, the code that interprets the raw data is not yet fully functional. We hope to be able upload it at a later date.

**V. Reference**

[1] Instructables. “Air Pollution Detector.” Instructables, Instructables, 8 Oct. 2017, www.instructables.com/id/Air-Pollution-Detector/.

Website: https://www.instructables.com/id/Air-Pollution-Detector/

**VI. Appendix**

Code:

// include the library code for LCD shield:

#include <Wire.h>

#include <Adafruit\_MCP23017.h>

#include <Adafruit\_RGBLCDShield.h>

// include code for temperature and humidity

#include <dht.h>

//Setup Temperature and humidity

#define dht\_dpin 2 //chanel for temperature sensor

dht DHT;

//Setup LCD

Adafruit\_RGBLCDShield lcd = Adafruit\_RGBLCDShield();

// These #defines make it easy to set the backlight color

#define OFF 0x0

#define RED 0x1

#define YELLOW 0x3

#define GREEN 0x2

#define TEAL 0x6

#define BLUE 0x4

#define VIOLET 0x5

#define WHITE 0x7

//ports for input devices

int const smallPM1 = 13;

int const largePM1 = 12;

int const smallPM2 = 5;

12

int const largePM2 = 4;

int const mq2port = A0;

int const NO2port = A2;

int const mq9port = A1;

int const O3port = A3;

int const mq9powerPort = 3;

// constants for use with gas sensors

float const mq2seriesResistor = 47000;

float const NO2seriesResistor = 22000;

float const mq9seriesResistor = 10000;

float const O3seriesResistor = 22000;

// variables for use in running particulate matter calculations long const sampleRate = 20;

long measurementCount = 0;

long smallPM1Count = 0;

long largePM1Count = 0;

long smallPM2Count = 0;

long largePM2Count = 0;

long priorSampleTime = 0;

double smallPM1percentRunning;

double largePM1percentRunning;

double smallPM2percentRunning;

double largePM2percentRunning;

//variables for gas sensor calcuations

float mq2resistance;

float NO2resistance;

float mq9resistance;

float O3resistance;

//variables for temperature and humidity

int temperature;

int humidity;

//miscellaneous variables

int mq9power = 300;

int displayNumber = 0;

void setup() {

Serial.begin(9600);

lcd.begin(16, 2);

pinMode (smallPM1, INPUT);

pinMode (largePM1, INPUT);

pinMode (smallPM2, INPUT);

13

pinMode (largePM2, INPUT);

pinMode (mq2port, INPUT);

pinMode (NO2port, INPUT);

pinMode (mq9port, INPUT);

pinMode (O3port, INPUT);

pinMode (mq9power, OUTPUT);

analogWrite (mq9powerPort, mq9power);

lcd.setBacklight(WHITE);

delay(1000);

}

void loop() {

samplePMDetectors(); //sample particulate detectors for 2 seconds and update running Averages

readResistances(); //calculateResistancesFromInputs

readTemperatureAndHumidity(); //aquire temperature and humidity data takes about 25ms

timestampSerial(); //print time

printRunningPMDataToSerial(); //print percentages to Serial

printGasDataToSerial(); //print gas sensor data to Serial

printTempAndHumidityToSerial();//print temperature and humidity data Serial.println();

Serial.println();

displayLCD(); //display data on LCD

}

void samplePMDetectors() {

for (int i = 0; i < 100; i++) {

while (millis() - priorSampleTime < sampleRate) {

}

priorSampleTime = millis();

measurementCount += 1;

if (digitalRead(smallPM1) == 0) {

smallPM1Count += 1;

}

if (digitalRead(largePM1) == 0) {

largePM1Count += 1;

}

if (digitalRead(smallPM2) == 0) {

smallPM2Count += 1;

}

if (digitalRead(largePM2) == 0) {

largePM2Count += 1;

14

}

}

//calculate running PM percentages

smallPM1percentRunning = 100.0 \* smallPM1Count / measurementCount; largePM1percentRunning = 100.0 \* largePM1Count / measurementCount; smallPM2percentRunning = 100.0 \* smallPM2Count / measurementCount; largePM2percentRunning = 100.0 \* largePM2Count / measurementCount; }

void readResistances() {

//read gas sensor data

int mq2rawInput = analogRead(mq2port);

int NO2rawInput = analogRead(NO2port);

int mq9rawInput = analogRead(mq9port);

int O3rawInput = analogRead(O3port);

//calculate resistances

mq2resistance = mq2seriesResistor \* ((1023.0 / mq2rawInput) - 1.0); NO2resistance = NO2seriesResistor \* ((1023.0 / NO2rawInput) - 1.0); mq9resistance = mq9seriesResistor \* ((1023.0 / mq9rawInput) - 1.0); O3resistance = NO2seriesResistor \* ((1023.0 / O3rawInput) - 1.0); }

void readTemperatureAndHumidity() {

DHT.read11(dht\_dpin);

humidity = (int) DHT.humidity;

temperature = (int) DHT.temperature;

}

void timestampSerial() {

Serial.print("Milliseconds since the program started: ");

Serial.println(millis());

}

void printRunningPMDataToSerial() {

Serial.println("Particulate Matter Data");

Serial.print("Measurement Count: ");

Serial.println(measurementCount);

Serial.print("Small PM detector 1: ");

Serial.println(smallPM1percentRunning);

Serial.print("Large PM detector 1: ");

Serial.println(largePM1percentRunning);

Serial.print("Small PM detector 2: ");

Serial.println(smallPM2percentRunning);

Serial.print("Large PM detector 2: ");

Serial.println(largePM2percentRunning);

15

Serial.println();

}

void printGasDataToSerial() {

Serial.println("Gas Sensor Data");

Serial.print("MQ-2 Resistance: ");

Serial.println(mq2resistance);

Serial.print("NO2 Resistance: ");

Serial.println(NO2resistance);

Serial.print("MQ-9 (CO2) Resistance: "); Serial.println(mq9resistance);

Serial.print("Ozone Resistance: ");

Serial.println(O3resistance);

Serial.println();

}

void printTempAndHumidityToSerial() { Serial.println("Temperature and Humidity Data"); Serial.print("temperature = ");

Serial.print(temperature);

Serial.print("C ");

Serial.print("Current humidity = ");

Serial.print(humidity);

Serial.println("% ");

Serial.println();

}

void displayLCD() {

lcd.clear();

lcd.setCursor(0, 0);

switch (displayNumber) {

case 0:

lcd.print("MeasurementTime");

lcd.setCursor(0, 1);

lcd.print(millis() / 1000);

break;

case 1:

lcd.print("SmallPM#1:");

lcd.setCursor(0, 1);

lcd.print(smallPM1percentRunning); lcd.print(" %");

break;

case 3:

lcd.print("LargePM#1:");

16

lcd.setCursor(0, 1);

lcd.print(largePM1percentRunning); lcd.print(" %");

break;

case 2:

lcd.print("SmallPM#2:");

lcd.setCursor(0, 1);

lcd.print(smallPM2percentRunning); lcd.print(" %");

break;

case 4:

lcd.print("LargePM#2:");

lcd.setCursor(0, 1);

lcd.print(largePM2percentRunning); lcd.print(" %");

break;

case 5:

lcd.print("MQ2 Resistance:"); lcd.setCursor(0, 1);

lcd.print((long) mq2resistance); lcd.print(" Ohm");

break;

case 6:

lcd.print("MQ9 Resistance:"); lcd.setCursor(0, 1);

lcd.print((long) mq9resistance); lcd.print(" Ohm");

break;

case 7:

lcd.print("NO2 Resistance:"); lcd.setCursor(0, 1);

lcd.print((long) NO2resistance); lcd.print(" Ohm");

break;

case 8:

lcd.print("O3 Resistance:"); lcd.setCursor(0, 1);

lcd.print((long) O3resistance); lcd.print(" Ohm");

break;

case 9:

lcd.print("Temperature");

lcd.setCursor(0, 1);

lcd.print(temperature);

lcd.print("C");

break;

17

case 10:

lcd.print("Humidity");

lcd.setCursor(0, 1);

lcd.print(temperature);

lcd.print("%");

break;

default:

displayNumber = -1;

lcd.clear();

}

displayNumber += 1;

}

**Box:**

https://cdn.instructables.com/ORIG/FJD/OBVB/I9Q9ERLP/FJDOBVBI9Q9ERLP.stl

18